Fire Safety Tips For Every Homeowner

- Remove debris from your roof and gutters

  - Embers from a fire can travel quite far, a pile of leaves or small twigs in your gutter can be kindling for a house fire.

- Clean out your chimney once a year

  - Soot buildup can be a catalyst.

- Check power lines

  - Look for branches that touch or would touch the powerline if they fall. Contact a power company to get them removed.

- Practice safety with candles, plugs/electrical outlets, space heaters, electric blankets, wood stoves, electric or gas ranges, etc.

  - Be cognizant with any electrical source or open flame of some kind.

  - Oil diffusers are a good alternative to candles.

- Keep light bulbs/lamps away from curtains, blankets, and other fabrics

- Clean out dryer lint

  - Dryer lint is an often overlooked culprit for the origination of house fires. Try to clean it between every load of laundry, but at least every few loads.

- Have fire extinguisher easily accessible on every floor of your home

- Check that smoke detectors are working every few months

  - Many can also detect carbon monoxide.

- Make sure firetrucks can access your home

- If there are bedrooms upstairs, make sure at least one room has access to a fire ladder

- Have a plan with your family

  - Points of escape

  - Fire extinguisher locations

  - Meeting point

  - Educate children if applicable

- Keep wood piles a good distance from house

- Do not leave propane tanks with gas still in them in home